## Slide 1
Introduction
Department of Optics has more than 40 years of tradition of outstanding research in optics and its members conduct cutting edge theoretical and experimental research in optical quantum information processing, quantum optics, quantum tomography, wave-front sensitive detection methods, digital holography, non-diffracting optical beams, optical signal processing and Raman spectroscopy.
Palacký University Olomouc, Department of optics
www.upol.cz http://optics.upol.cz/en/
Josef Kapitán
Senior researcher
kapitan@optics.upol.cz

## Slide 2
Raman optical activity
Raman scattering
Raman optical
activity

## Slide 3
simple
molecules
proteins
nucleic
acids
viruses
more complex
molecules
Raman optical activity
Kessler, Kapitán, Bouř: J. Phys. Chem. Lett. 2015, 6, 3314
Determination of structure and
comformation

## Slide 4
Raman optical activity
Determination of absolute configuration
and enantiomeric excess
Dextropropoxyphene (Darvon)
- painkiller
Levopropoxyphene (Novrad)
- cough suppressant
S-(-)-Thalidomide
teratogen
carcinogen
R-(+)-Thalidomide
soporific
hypnotic
accuracy of determination of ee < 0,05 %
P. Michal, Symmetry, 2022, 14, 990

## Slide 5
Raman optical activity
Clinical diagnostics of diseases
1. Setnička, V. and L. Habartová, Chiroptical Spectroscopy of Biofluids, in Chiral Analysis, P.A. Polavarapu, Editor. 2018. p. 429-465.
2. Habartová, L., et al., Chiroptical spectroscopy and metabolomics for blood‐based sensing of pancreatic cancer. Chirality, 2018. 30: p. 581-591.
3. Habartová, L., et al., Blood-based molecular signature of Alzheimer's disease via spectroscopy and metabolomics. Clin. Biochem., 2019. 72: p. 58-63.
4. Hrubešová, K., et al., Search for biomarkers of Alzheimer‘s disease: Recent insights, current challenges and future prospects. Clin. Biochem., 2019. 72: p. 39-51.
ROA of blood plasma from patients with Alzheimer disease (red) and healthy controls (black)
distinguishing patients from healthy controls:
sensitivity 94%, specificity 84%

## Slide 6
[Prototype photo]
Raman optical activity
Excitation wavelength | 532 nm
Laser power at sample | < 1.5 W
Spectral range | 50 – 4500 cm-1
Spectral resolution | < 7 cm-1 for 50 – 2400 cm-1 < 10 cm-1 for 2400 – 4500 cm-1
Scattering geometry | back-scattering
Modulation scheme | SCP, ICP, DCPI, DCPII
Development of ROA spectrometer – for research, industrial and medial use

## Slide 7
We offer
We are looking for
In collaboration with ZEBR and MEOPTA
Raman optical activity
spectrometer
Motorized 2D linear stages
suppliers of OEM components:
Scientific cameras (large sensor area – diagonal min. 30 mm, large pixel well-depth, low readout noise, fast readout)
Lasers (213 nm, 405 nm, 532 nm, 785 nm, spectral linewidth and stability < 1 GHz, output power > 2W, ideally coupled into fiber)
Palacký University Olomouc, Department of optics
www.upol.cz http://optics.upol.cz/en/
Josef Kapitán
Senior researcher
kapitan@optics.upol.cz